## 400@3bar
SUPPLY, INSTALLATION, TESTING, COMMISSIONING OF ELECTRIC MOTOR DRIVEN CNG COMPRESSOR PACKAGES/ COMPRESSORS INCLUDING COMPREHENSIVE OPERATION & MAINTENANCE SERVICES
Cost Calculation for Power and Gas Loss per Compressor Package / Compressor
| 400 SCMH | Bidder-1 | Bidder-2 | Remarks
|  | @ 3 barg | @ 3 barg
C | For Guaranteed Power
| Guaranteed Power Consumption in KWH | 75 | 74 | To be entered by Bidder
| Annual Power consumption | 328500 | 324120 | Formula
(365 x 12 x Guaranteed KWH)
(Considering 12 Hrs running per day)
| Electricity Distribution Company charges = RS. 8.10 /unit | 8.1 | 8.1 | Fixed Value
| Total Power Cost | 2660850 | 2625372 | Formula
| Output in SCMH | 400 | 400 | Fixed Value-variable as per Capacity of the Compressor Package / Compressor
| Annual sales (Kg.) | 1317293.2331 | 1317293.2331 | Formula
(365 x 12 x output in Kg.)
( Considering 12 Hrs running per day)
| Power Cost per Kg.-Rs. | 2.0199 | 1.993 | Formula
| Power Cost / Compressor [for Ten years ] (In Rs.) | 26608500 | 26253720 | Formula
D | For Guaranteed Gas Loss
| Gas Vent mass flow meter reading (In Kg) for month measured through vent meter installed in Compressor considering accuracy of meter. (Considering 12 Hrs running per day) (Vent mass flow meter reading in kg. per hour * 12 * 30) | 28.42 | 32 | To be entered by Bidder
| Suction mass flow meter reading (In Kg) for month (Considering 12 Hrs running per day) | 108299.0967 | 108302.6767 | Formula
| Guaranteed Monthly Gas Loss in % that will be vented through the vent meter installed in Compressor considering accuracy of meter. | 0.02624% | 0.02955% | Formula
| Retail Selling Price (RSP) (per Kg) | 80.26 | 80.26 | Fixed Value
| Dealer Commission (A) | 3.42 | 3.42 | Fixed Value
| Gas Price Without dealer Commission (b)=RSP-A | 76.84 | 76.84 | Formula
| Applicable VAT (c ) =B - (B / (1+VAT/100)) (5%) | 3.659 | 3.659 | Formula
| Gas price in Rs. without VAT (D) = B - C | 73.181 | 73.181 | Formula
| Applicable Excise Duty in Rs. (E) = D - (D / (1+ED/100)) (14%) | 8.9871 | 8.9871 | Formula
| Gas price in Rs. without ED (F) = D – E (per kg) | 64.1938 | 64.1938 | Formula
| Gas loss in Rs per year per compressor | 22190.8995 | 24985.4085 | Formula
| Gas loss in Rs for 10 years per compressor | 221908.9947 | 249854.0852 | Formula
| Total cost including Guaranteed KWH and Gas Loss | 26830408.9947 | 26503574.0852 | Formula
Per package * No. of Compressors

## 650@19bar
SUPPLY, INSTALLATION, TESTING, COMMISSIONING OF ELECTRIC MOTOR DRIVEN CNG COMPRESSOR PACKAGES/ COMPRESSORS INCLUDING COMPREHENSIVE OPERATION & MAINTENANCE SERVICES
Cost Calculation for Power and Gas Loss per Compressor Package / Compressor
| 650 SCMH | Bidder-1 | Bidder-2 | Remarks
|  | @ 19 barg | @ 19 barg
C | For Guaranteed Power
| Guaranteed Power Consumption in KWH | 75 | 74 | To be entered by Bidder
| Annual Power consumption | 328500 | 324120 | Formula
(365 x 12 x Guaranteed KWH)
(Considering 12 Hrs running per day)
| Electricity Distribution Company charges = RS. 8.10 /unit | 8.1 | 8.1 | Fixed Value
| Total Power Cost | 2660850 | 2625372 | Formula
| Output in SCMH | 650 | 650 | Fixed Value-variable as per Capacity of the Compressor Package / Compressor
| Annual sales (Kg.) | 2140601.5038 | 2140601.5038 | Formula
(365 x 12 x output in Kg.)
( Considering 12 Hrs running per day)
| Power Cost per Kg.-Rs. | 1.243 | 1.2265 | Formula
| Power Cost / Compressor [for Ten years ] (In Rs.) | 26608500 | 26253720 | Formula
D | For Guaranteed Gas Loss
| Gas Vent mass flow meter reading (In Kg) for month measured through vent meter installed in Compressor considering accuracy of meter. (Considering 12 Hrs running per day) (Vent mass flow meter reading in kg. per hour * 12 * 30) | 28.42 | 32 | To be entered by Bidder
| Suction mass flow meter reading (In Kg) for month (Considering 12 Hrs running per day) | 175968.2696 | 175971.8496 | Formula
| Guaranteed Monthly Gas Loss in % that will be vented through the vent meter installed in Compressor considering accuracy of meter. | 0.01615% | 0.01818% | Formula
| Retail Selling Price (RSP) (per Kg) | 80.26 | 80.26 | Fixed Value
| Dealer Commission (A) | 3.42 | 3.42 | Fixed Value
| Gas Price Without dealer Commission (b)=RSP-A | 76.84 | 76.84 | Formula
| Applicable VAT (c ) =B - (B / (1+VAT/100)) (5%) | 3.659 | 3.659 | Formula
| Gas price in Rs. without VAT (D) = B - C | 73.181 | 73.181 | Formula
| Applicable Excise Duty in Rs. (E) = D - (D / (1+ED/100)) (14%) | 8.9871 | 8.9871 | Formula
| Gas price in Rs. without ED (F) = D – E (per kg) | 64.1938 | 64.1938 | Formula
| Gas loss in Rs per year per compressor | 22193.1395 | 24988.2482 | Formula
| Gas loss in Rs for 10 years per compressor | 221931.3945 | 249882.4822 | Formula
| Total cost including Guaranteed KWH and Gas Loss | 26830431.3945 | 26503602.4822 | Formula
Per package * No. of Compressors

## 1000@19bar
SUPPLY, INSTALLATION, TESTING, COMMISSIONING OF ELECTRIC MOTOR DRIVEN CNG COMPRESSOR PACKAGES/ COMPRESSORS INCLUDING COMPREHENSIVE OPERATION & MAINTENANCE SERVICES
Cost Calculation for Power and Gas Loss per Compressor Package / Compressor
| 1000 SCMH | Bidder-1 | Bidder-2 | Remarks
|  | @ 19 barg | @ 19 barg
C | For Guaranteed Power
| Guaranteed Power Consumption in KWH | 109 | 110 | To be entered by Bidder
| Annual Power consumption | 477420 | 481800 | Formula
(365 x 12 x Guaranteed KWH)
(Considering 12 Hrs running per day)
| Electricity Distribution Company charges = RS. 8.10 /unit | 8.1 | 8.1 | Fixed Value
| Total Power Cost | 3867102 | 3902580 | Formula
| Output in SCMH | 1000 | 1000 | Fixed Value-variable as per Capacity of the Compressor Package / Compressor
| Annual sales (Kg.) | 3293233.0827 | 3293233.0827 | Formula
(365 x 12 x output in Kg.)
( Considering 12 Hrs running per day)
| Power Cost per Kg.-Rs. | 1.1743 | 1.185 | Formula
| Power Cost / Compressor [for Ten years ] (In Rs.) | 38671020 | 39025800 | Formula
D | For Guaranteed Gas Loss
| Gas Vent mass flow meter reading (In Kg) for month measured through vent meter installed in Compressor considering accuracy of meter. (Considering 12 Hrs running per day) (Vent mass flow meter reading in kg. per hour * 12 * 30) | 28.42 | 32 | To be entered by Bidder
| Suction mass flow meter reading (In Kg) for month (Considering 12 Hrs running per day) | 270705.1117 | 270708.6917 | Formula
| Guaranteed Monthly Gas Loss in % that will be vented through the vent meter installed in Compressor considering accuracy of meter. | 0.0105% | 0.01182% | Formula
| Retail Selling Price (RSP) (per Kg) | 80.26 | 80.26 | Fixed Value
| Dealer Commission (A) | 3.42 | 3.42 | Fixed Value
| Gas Price Without dealer Commission (b)=RSP-A | 76.84 | 76.84 | Formula
| Applicable VAT (c ) =B - (B / (1+VAT/100)) (5%) | 3.659 | 3.659 | Formula
| Gas price in Rs. without VAT (D) = B - C | 73.181 | 73.181 | Formula
| Applicable Excise Duty in Rs. (E) = D - (D / (1+ED/100)) (14%) | 8.9871 | 8.9871 | Formula
| Gas price in Rs. without ED (F) = D – E (per kg) | 64.1938 | 64.1938 | Formula
| Gas loss in Rs per year per compressor | 22194.394 | 24989.8387 | Formula
| Gas loss in Rs for 10 years per compressor | 221943.9404 | 249898.3874 | Formula
| Total cost including Guaranteed KWH and Gas Loss | 38892963.9404 | 39275698.3874 | Formula
Per package * No. of Compressors

## 1200@19bar
SUPPLY, INSTALLATION, TESTING, COMMISSIONING OF ELECTRIC MOTOR DRIVEN CNG COMPRESSOR PACKAGES/ COMPRESSORS INCLUDING COMPREHENSIVE OPERATION & MAINTENANCE SERVICES
Cost Calculation for Power and Gas Loss per Compressor Package / Compressor
| 1200 SCMH | Bidder-1 | Bidder-2 | Remarks
|  | @ 19 barg | @ 19 barg
C | For Guaranteed Power
| Guaranteed Power Consumption in KWH | 131 | 132 | To be entered by Bidder
| Annual Power consumption | 573780 | 578160 | Formula
(365 x 12 x Guaranteed KWH)
(Considering 12 Hrs running per day)
| Electricity Distribution Company charges = RS. 8.10 /unit | 8.1 | 8.1 | Fixed Value
| Total Power Cost | 4647618 | 4683096 | Formula
| Output in SCMH | 1200 | 1200 | Fixed Value-variable as per Capacity of the Compressor Package / Compressor
| Annual sales (Kg.) | 3951879.6992 | 3951879.6992 | Formula
(365 x 12 x output in Kg.)
( Considering 12 Hrs running per day)
| Power Cost per Kg.-Rs. | 1.1761 | 1.185 | Formula
| Power Cost / Compressor [for Ten years ] (In Rs.) | 46476180 | 46830960 | Formula
D | For Guaranteed Gas Loss
| Gas Vent mass flow meter reading (In Kg) for month measured through vent meter installed in Compressor considering accuracy of meter. (Considering 12 Hrs running per day) (Vent mass flow meter reading in kg. per hour * 12 * 30) | 28.42 | 32 | To be entered by Bidder
| Suction mass flow meter reading (In Kg) for month (Considering 12 Hrs running per day) | 324840.4501 | 324844.0301 | Formula
| Guaranteed Monthly Gas Loss in % that will be vented through the vent meter installed in Compressor considering accuracy of meter. | 0.008749% | 0.009851% | Formula
| Retail Selling Price (RSP) (per Kg) | 80.26 | 80.26 | Fixed Value
| Dealer Commission (A) | 3.42 | 3.42 | Fixed Value
| Gas Price Without dealer Commission (b)=RSP-A | 76.84 | 76.84 | Formula
| Applicable VAT (c ) =B - (B / (1+VAT/100)) (5%) | 3.659 | 3.659 | Formula
| Gas price in Rs. without VAT (D) = B - C | 73.181 | 73.181 | Formula
| Applicable Excise Duty in Rs. (E) = D - (D / (1+ED/100)) (14%) | 8.9871 | 8.9871 | Formula
| Gas price in Rs. without ED (F) = D – E (per kg) | 64.1938 | 64.1938 | Formula
| Gas loss in Rs per year per compressor | 22194.7824 | 24990.3311 | Formula
| Gas loss in Rs for 10 years per compressor | 221947.8239 | 249903.3108 | Formula
| Total cost including Guaranteed KWH and Gas Loss | 46698127.8239 | 47080863.3108 | Formula
Per package * No. of Compressors

## 1700@19bar
SUPPLY, INSTALLATION, TESTING, COMMISSIONING OF ELECTRIC MOTOR DRIVEN CNG COMPRESSOR PACKAGES/ COMPRESSORS INCLUDING COMPREHENSIVE OPERATION & MAINTENANCE SERVICES
Cost Calculation for Power and Gas Loss per Compressor Package / Compressor
| 1700 SCMH | Bidder-1 | Bidder-2 | Remarks
|  | @ 19 barg | @ 19 barg
C | For Guaranteed Power
| Guaranteed Power Consumption in KWH | 210 | 215 | To be entered by Bidder
| Annual Power consumption | 919800 | 941700 | Formula
(365 x 12 x Guaranteed KWH)
(Considering 12 Hrs running per day)
| Electricity Distribution Company charges = RS. 8.10 /unit | 8.1 | 8.1 | Fixed Value
| Total Power Cost | 7450380 | 7627770 | Formula
| Output in SCMH | 1700 | 1700 | Fixed Value-variable as per Capacity of the Compressor Package / Compressor
| Annual sales (Kg.) | 5598496.2406 | 5598496.2406 | Formula
(365 x 12 x output in Kg.)
( Considering 12 Hrs running per day)
| Power Cost per Kg.-Rs. | 1.3308 | 1.3625 | Formula
| Power Cost / Compressor [for Ten years ] (In Rs.) | 74503800 | 76277700 | Formula
D | For Guaranteed Gas Loss
| Gas Vent mass flow meter reading (In Kg) for month measured through vent meter installed in Compressor considering accuracy of meter. (Considering 12 Hrs running per day) (Vent mass flow meter reading in kg. per hour * 12 * 30) | 28.42 | 32 | To be entered by Bidder
| Suction mass flow meter reading (In Kg) for month (Considering 12 Hrs running per day) | 460178.7959 | 460182.3759 | Formula
| Guaranteed Monthly Gas Loss in % that will be vented through the vent meter installed in Compressor considering accuracy of meter. | 0.006176% | 0.006954% | Formula
| Retail Selling Price (RSP) (per Kg) | 80.26 | 80.26 | Fixed Value
| Dealer Commission (A) | 3.42 | 3.42 | Fixed Value
| Gas Price Without dealer Commission (b)=RSP-A | 76.84 | 76.84 | Formula
| Applicable VAT (c ) =B - (B / (1+VAT/100)) (5%) | 3.659 | 3.659 | Formula
| Gas price in Rs. without VAT (D) = B - C | 73.181 | 73.181 | Formula
| Applicable Excise Duty in Rs. (E) = D - (D / (1+ED/100)) (14%) | 8.9871 | 8.9871 | Formula
| Gas price in Rs. without ED (F) = D – E (per kg) | 64.1938 | 64.1938 | Formula
| Gas loss in Rs per year per compressor | 22195.3535 | 24991.0552 | Formula
| Gas loss in Rs for 10 years per compressor | 221953.5353 | 249910.5515 | Formula
| Total cost including Guaranteed KWH and Gas Loss | 74725753.5353 | 76527610.5515 | Formula
Per package * No. of Compressors