## 250 SCMH
Calculation for Power Cost per Booster CNG Compressor
Open e-tender # 301424
SUPPLY, INSTALLATION, TESTING, COMMISSIONING OF CNG BOOSTER COMPRESSORS INCLUDING COMPREHENSIVE OPERATION & MAINTENANCE SERVICES FOR 10 YEARS
250 SCMH | Bidder-1 | Bidder-2 | Remarks
| @ 40 barg | @ 40 barg
For Guaranteed Power
Guaranteed Power Consumption in KWH including accuracy (Considering Average Power consumption for Pressure 30 bar to 200 bar) | 20 | 22 | To be entered by Bidder
Annual Power consumption | 87600 | 96360 | Formula
(365 x 12 x Guaranteed KWH)
(Considering 12 Hrs running per day)
GEB charges = RS. 8.10 /unit | 8.1 | 8.1 | Fixed Value
Total Annual Power Cost This value shall be entered under each year for PV calculation sheet | 709560 | 780516 | Formula This value to be entered into PV calculation sheet towards annual Power cost
Output in SCMH | 250 | 250 | Fixed Value-variable as per Capacity of the Compressor Package / Compressor
Annual SCM sales | 1095000 | 1095000 | Formula
(365 x 12 x output in SCMH)
( Considering 12 Hrs running per day)
Power Cost per SCM-Rs. | 0.648 | 0.7128 | Formula
Power Cost / Compressor for Ten years (In Rs.) | 7095600 | 7805160 | Formula

## 450 SCMH
Calculation for Power Cost per Booster CNG Compressor
Open e-tender # 301424
SUPPLY, INSTALLATION, TESTING, COMMISSIONING OF CNG BOOSTER COMPRESSORS INCLUDING COMPREHENSIVE OPERATION & MAINTENANCE SERVICES FOR 10 YEARS
450 SCMH | Bidder-1 | Bidder-2 | Remarks
| @ 40 barg | @ 40 barg
For Guaranteed Power
Guaranteed Power Consumption in KWH including accuracy (Considering Average Power consumption for Pressure 30 bar to 200 bar) | 35 | 34 | To be entered by Bidder
Annual Power consumption | 153300 | 148920 | Formula
(365 x 12 x Guaranteed KWH)
(Considering 12 Hrs running per day)
GEB charges = RS. 8.10 /unit | 8.1 | 8.1 | Fixed Value
Total Annual Power Cost This value shall be entered under each year for PV calculation sheet | 1241730 | 1206252 | Formula This value to be entered into PV calculation sheet towards annual Power cost
Output in SCMH | 450 | 450 | Fixed Value-variable as per Capacity of the Compressor Package / Compressor
Annual SCM sales | 1971000 | 1971000 | Formula
(365 x 12 x output in SCMH)
( Considering 12 Hrs running per day)
Power Cost per SCM-Rs. | 0.63 | 0.612 | Formula
Power Cost / Compressor for Ten years (In Rs.) | 12417300 | 12062520 | Formula